## Slide 1: Refrigeration and Heat Pump Systems
Nick DiFilippo 6/16/2015

## Slide 2: Vapor Refrigeration Systems
Carnot Refrigeration Cycle

## Slide 3: Departures from Carnot Cycle
Heat Transfers
Wet Compression vs. Dry Compression
Turbine and Throttling Valve

## Slide 4: Analyzing Vapor Compression Systems

## Slide 5: Performance of Ideal Vapor Compression Systems

## Slide 7: Performance of Actual Cycle

## Slide 9
Control Volume Governing Equations (1)
Mass Conservation:
For Constant Property
And 1-D flow :
For steady state:
For closed System:

## Slide 10
Control Volume Governing Equations (2)
Note:
For closed system,
2. Pay attention to the sign of Q and W, and other signs in the original equations.
3. Total energy includes internal, kinetic and potential energy.
4. Pay attention to the multiple inlets and exits (in=1, exit=2).
5. Pay attention to quazi-steady form (example:charging and filling process)
7. Pay attention to the units of enthalpy, Ke and Pe energy.

## Slide 11
Typical Steady-State CV Analysis for Industrial Applications
Nozzle and Diffuser
Turbine, Pump and Compressor
May or may not neglect PE

## Slide 12
Heat Exchanger
Valve and Throttling Device

## Slide 13
The types of governing equations depend on system selection:

## Slide 14
Control Volume Governing Equations (3)
Note:
For closed system,
2. Steady state form.
3. Pay attention to the boundary temperature and sign of Q
4. Increasing in entropy principle

## Slide 15
Retrieving Thermal Properties
Property tables at various states (saturation, superheated vapor and compressed liquid) can be used. We must determine the state of the working medium before using the corresponding tables. Typically, properties are given as:
1. Properties P and T are given:

## Slide 16
2. Property P or T and one of w (w represent any one of v, u, h, or s) are given
Retrieving Thermal Properties (2)

## Slide 17
Evaluation of Property in S-L Mixture Region
The above equation also apply to properties of u, h, and s.
The above equation also apply to properties of u, h, and s Therefore, given any one of the properties (v,u,h,s) in the mixture region, the rest can be determined using this equation
Retrieving Thermal Properties (3)

## Slide 18
Note:
T and P are not two independent parameters in mixture region.
Pay attention to unit of specific volume for liquid.
3. Approximation of liquid properties using the saturated liquid.
4. Properties of incompressible substances.
5. Using of generalized compressibility chart

## Slide 19
Representation of Ideal Gas Model
is the universal constant
(Unit: kJ/kmol)
(Unit: kJ)
(Unit: kJ/kg)
(Unit: kJ)

## Slide 20
Use of Ideal Gas Tables

## Slide 21
T dS Equations

## Slide 22
Isentropic Processes

## Slide 24
Isentropic Efficiencies of Industrial devices
1. Isentropic Efficiencies of Turbine
2. Isentropic Efficiencies of Nozzle
3. Isentropic Efficiencies of Compressors and pumps

## Slide 25
Common Mistakes
* didn’t know how to start the problem
* didn’t write down what you know on the exam paper
* didn’t know how to find thermal properties
* didn’t know when to use ideal gas laws
* confused with the temperature scales
* made mistakes in units (ke/pe, liquid v)
* confused with different forms of governing equations
* confused with various definitions of COP and efficiencies
* didn’t know how to find work or heat
* made mistakes in signs (Q, W, property changes, and in/outlet)